## Sheet1
| RTV (to VMH) | Receiving Date | Products | Venus Medtech Spec# | Batch No. / Serial No. | Description | Qty Received | Inspection Note | Expiration Date | Inspection Status | Received by | Case 01 University of Virginia Sep 13, 2024 |  |  | Case 02 University of Virginia Sep 17, 2024 |  |  | Case 03 Colorado Children Sep 20, 2024 |  |  | Case 04 Colorado Children Dec 17, 2024 |  |  | Case 05 University of Virginia Feb 10, 2025 |  |  | Case 06 Colorada Children Hospital Mar 14, 2025 |  |  | Case 07 UCLA Hospital Apr 24, 2025 |  |  | Case 08 Colorada Children Hospital May 21, 2025 |  |  | Case 09 Colorada Children Hospital Jun 10, 2025 |  |  | Case 10 UCLA Jul 31, 2025 |  |  | Case 11 Colorado Aug 6, 2025 |  |  | Case 12 Chicago Aug 21, 2025 |  |  | Case 13 Colorado Oct 14, 2025 |  |  | Case 14 Colorado Nov 4, 2025 |  |  | Case 15 University of Virginia Dec 4, 2025 |  |  | Case 16 Texas Children's Hospital Jan 5, 2026 |  |  | ID 003-007 Univeristy of Virginia Feb 5, 2026 |  |  | ID 003-005 Univeristy of Virginia Feb 12, 2026 |  |  | ID 003-006 Univeristy of Virginia Feb 12, 2026
[12 empty] | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned | Requested | Used | Returned
Batch 1 | 1 | 2024-03-13 | P-Valve | P28-25 | 28P2502000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 1
| 1 | 2024-03-13 | P-Valve | P28-25 | 28P2502000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 1 | 2024-03-13 | P-Valve | P28-30 | 28P3002000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| - | 2024-03-13 | P-Valve | P30-30 | 30P3002000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 1 | 0
| 1 | 2024-03-13 | P-Valve | P32-25 | 32P2502000240003 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 0 | 1
| 1 | 2024-03-13 | P-Valve | P32-25 | 32P2502000240003 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 0 | 1
| 1 | 2024-03-13 | P-Valve | P32-30 | 32P3002000240002 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 1 | 2024-03-13 | P-Valve | P34-25 | 34P2502000240002 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 0 | 1
| 1 | 2024-03-13 | P-Valve | P34-25 | 34P2502000240002 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham | 1 | 0 | 1
| 1 | 2024-03-13 | P-Valve | P34-30 | 34P3002000240002 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 1 | 2024-03-13 | P-Valve | P36-25 | 36P2502000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 1 | 2024-03-13 | P-Valve | P36-25 | 36P2502000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 1 | 2024-03-13 | P-Valve | P36-30 | 36P3002000240001 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2024 July 11 | Accepted | Phuoc Pham
| 7 | 2024-03-13 | Delivery System | DS22-P70 | DSP231006 | Delivery System in box with label | 8 | Intacted. No damage. 1/8 products has seal slightly opened | 2025 Oct 27 | Accepted | Phuoc Pham |  |  |  | 1 | 0 | 1 | [9 empty] | 1 | 0 | 1 | [15 empty] | 2 | 1 | 1
| 2 | 2024-03-13 | Delivery System | DS22-P70 | DSP230801 | Delivery System in box with label | 2 | Intacted. No damage. | 2025 Sep 08 | Accepted | Phuoc Pham | 2 | 0 | 2
| 4 | 2024-03-13 | Delivery System | DS22-P77 | DSP230802 | Delivery System in box with label | 6 | Intacted. No damage. 3/6 products have seal slightly unhinged | 2025 Sep 08 | Accepted | Phuoc Pham |  |  |  | 1 | 0 | 1 | 1 | 1 | 0 | [9 empty] | 1 | 1 | 0 | [12 empty] | 2 | 0 | 2
| 3 | 2024-03-13 | Delivery System | DS22-P77 | DSP231007 | Delivery System in box with label | 4 | Intacted. No damage. 2/4 products have seal slightly unhinged | 2025 Oct 27 | Accepted | Phuoc Pham | 2 | 1 | 1 | [15 empty] | 1 | 0 | 1
| 7 | 2024-03-13 | Delivery System | DS24-P75 | DSP231008 | Delivery System in box with label | 10 | Intacted. No damage. 3/10 products have seal slightly unhinged | 2025 Nov 01 | Accepted | Phuoc Pham | 2 | 0 | 2 | 1 | 1 | 0 | 1 | 0 | 1 | 2 | 1 | 1 |  |  |  | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 0 | 2 | 1 | 0 | 1 | [9 empty] | 1 | 1 | 0
| 12 | 2024-03-13 | Delivery System | DS24-P81 | DSP231009 | Delivery System in box with label | 15 | Intacted. No damage. 1/15 products has seal slightly unhinged | 2025 Nov 01 | Accepted | Phuoc Pham | 2 | 0 | 2 | [6 empty] | 2 | 0 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 1 | 1 |  |  |  | 2 | 0 | 2
| 9 | 2024-03-13 | Delivery System | DS24-P87 | DSP231010 | Delivery System in box with label | 10 | Intacted. No damage. 1/10 products has seal slightly unhinged | 2025 Nov 01 | Accepted | Phuoc Pham | [12 empty] | 2 | 0 | 2 | 1 | 0 | 1 |  |  |  | 2 | 1 | 1 | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 0 | 2 |  |  |  | 1 | 0 | 1
Batch 2 | USED | 2024-08-20 | P-Valve | P28-25 | 28P25000240041 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [6 empty] | 1 | 1 | 0
| 1 | 2024-08-20 | P-Valve | P28-25 | 28P25000240042 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham |  |  |  | 1 | 0 | 1
| - | 2024-08-20 | P-Valve | P28-30 | 28P30000240022 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [6 empty] | 1 | Tag trigger 1 | 1
| - | 2024-08-20 | P-Valve | P30-30 | 30P30000240032 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham |  |  |  | 1 | 0 | 1
| USED | 2024-08-20 | P-Valve | P32-25 | 32P25000240104 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 1 | 0
| USED | 2024-08-20 | P-Valve | P32-25 | 32P25000240105 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham |  |  |  | 1 | 1 | 0
| 1 | 2024-08-20 | P-Valve | P32-25 | 32P25000240106 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 0 | 1
| - | 2024-08-20 | P-Valve | P32-25 | 32P25000240107 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [6 empty] | 1 | Tag trigger 1 | 1
| - | 2024-08-20 | P-Valve | P32-30 | 32P30000240011 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [6 empty] | 1 | Tag trigger 1 | 1
| 1 | 2024-08-20 | P-Valve | P34-25 | 34P25000240082 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham
| 1 | 2024-08-20 | P-Valve | P34-25 | 34P25000240083 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 0 | 1
| 1 | 2024-08-20 | P-Valve | P34-25 | 34P25000240085 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 0 | 1
| 1 | 2024-08-20 | P-Valve | P34-30 | 34P30000240011 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham
| 1 | 2024-08-20 | P-Valve | P36-25 | 36P25000240056 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 0 | 1
| 1 | 2024-08-20 | P-Valve | P36-25 | 36P25000240057 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham
| 1 | 2024-08-20 | P-Valve | P36-25 | 36P25000240058 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham | [9 empty] | 1 | 0 | 1
| 1 | 2024-08-20 | P-Valve | P36-30 | 36P30000240060 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jan 19 | Accepted | Phuoc Pham
Batch 3 | 1 | 2024-10-22 | P-Valve | P28-30 | 28P30000240035 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| 1 | 2024-10-22 | P-Valve | P30-30 | 30P30000240035 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| 1 | 2024-10-22 | P-Valve | P30-30 | 30P30000240036 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| 1 | 2024-10-22 | P-Valve | P32-25 | 32P25000240151 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| 1 | 2024-10-22 | P-Valve | P32-25 | 32P25000240152 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| 1 | 2024-10-22 | P-Valve | P32-30 | 32P30000240022 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham
| USED | 2024-10-22 | P-Valve | P34-25 | 34P25000240115 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 1 | 0
| 1 | 2024-10-22 | P-Valve | P34-25 | 34P25000240116 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 0 | 1
| 1 | 2024-10-22 | P-Valve | P34-30 | 34P30000240013 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 0 | 1
| 1 | 2024-10-22 | P-Valve | P36-25 | 36P250002400098 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 0 | 1
| 1 | 2024-10-22 | P-Valve | P36-25 | 36P250002400099 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 0 | 1
| 1 | 2024-10-22 | P-Valve | P36-30 | 36P30000240077 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Mar 04 | Accepted | Phuoc Pham | [12 empty] | 1 | 0 | 1
Batch 4 | 1 | 2024-12-17 | P-Valve | P28-25 | 28P25000240115 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 22 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P28-25 | 28P25000240116 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 22 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P28-30 | 28P30000240041 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
|  | 2024-12-17 | P-Valve | P30-25 | 30P25000240163 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 22 | Accepted | Phuoc Pham
|  | 2024-12-17 | P-Valve | P30-25 | 30P25000240164 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 15 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1
|  | 2024-12-17 | P-Valve | P30-25 | 30P25000240165 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 15 | Accepted | Phuoc Pham | [33 empty] | 1 | 1 | 0
| 1 | 2024-12-17 | P-Valve | P30-25 | 30P25000240166 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 15 | Accepted | Phuoc Pham
|  | 2024-12-17 | P-Valve | P32-25 | 32P25000240194 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [18 empty] | 1
| 1 | 2024-12-17 | P-Valve | P32-25 | 32P25000240195 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1
| 1 | 2024-12-17 | P-Valve | P32-25 | 32P25000240196 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1
| 1 | 2024-12-17 | P-Valve | P32-25 | 32P25000240197 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P32-30 | 32P30000240028 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1
|  | 2024-12-17 | P-Valve | P34-25 | 34P25000240135 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1 | 1
| 1 | 2024-12-17 | P-Valve | P34-25 | 34P25000240136 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 1
| 1 | 2024-12-17 | P-Valve | P34-25 | 34P25000240137 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
|  | 2024-12-17 | P-Valve | P34-30 | 34P30000240029 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 0 | 0
| USED | 2024-12-17 | P-Valve | P36-25 | 36P25000240126 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham | [15 empty] | 1 | 1 | 1
|  | 2024-12-17 | P-Valve | P36-25 | 36P25000240127 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P36-25 | 36P25000240128 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P36-30 | 36P30000240139 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
| 1 | 2024-12-17 | P-Valve | P36-30 | 36P30000240140 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 May 08 | Accepted | Phuoc Pham
Batch 5 | 1 | 2025-01-29 | P-Valve | P28-25 | 28P25000240147 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham
| 1 | 2025-01-29 | P-Valve | P28-25 | 28P25000240148 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham
| 1 | 2025-01-29 | P-Valve | P28-30 | 28P30000240042 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [18 empty] | 1 | 0 | 1
| 1 | 2025-01-29 | P-Valve | P28-30 | 28P30000240043 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [18 empty] | 1 | 0 | 1
| USED | 2025-01-29 | P-Valve | P30-30 | 30P30000240070 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [18 empty] | 1 | 1 | 0
| 1 | 2025-01-29 | P-Valve | P30-30 | 30P30000240071 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham
| 1 | 2025-01-29 | P-Valve | P30-30 | 30P30000240072 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [18 empty] | 1 | 0 | 1
| 1 | 2025-01-29 | P-Valve | P32-25 | 32P25000240269 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 0 | 1 | 1 | 0 | 1
| 1 | 2025-01-29 | P-Valve | P32-30 | 32P30000240029 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham
| 1 | 2025-01-29 | P-Valve | P32-30 | 32P30000240030 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 0 | 1
|  | 2025-01-29 | P-Valve | P34-25 | 34P25000240188 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [24 empty] | 1 | 0 | 1
|  | 2025-01-29 | P-Valve | P34-25 | 34P25000240189 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 0 | 1
| 1 | 2025-01-29 | P-Valve | P34-30 | 34P30000240030 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 0 | 1 | 1 | 0 | 1
| 1 | 2025-01-29 | P-Valve | P34-30 | 34P30000240031 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham
|  | 2025-01-29 | P-Valve | P36-25 | 36P25000240158 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [24 empty] | 1 | 0 | 1
|  | 2025-01-29 | P-Valve | P36-25 | 36P25000240159 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 0 | 1 | 1 | 0 | 1
| USED | 2025-01-29 | P-Valve | P36-30 | 36P30000240177 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [21 empty] | 1 | 1 | 0
| 1 | 2025-01-29 | P-Valve | P36-30 | 36P30000240178 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Jun 27 | Accepted | Phuoc Pham | [24 empty] | 1 | 0 | 1
Batch 6 | 1 | 2025-07-07 | P-Valve | P34-25 | 34P25000250014 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Aug 21 | Accepted | Aaron Tong
| 1 | 2025-07-07 | P-Valve | P34-25 | 34P25000250013 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Aug 21 | Accepted | Aaron Tong | [27 empty] | 1 | 0 | 1 | 1 | 0 | 1
| USED | 2025-07-07 | P-Valve | P36-25 | 36P25000250008 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Aug 31 | Accepted | Aaron Tong | [27 empty] | 1 | 0 | 1 | 1 | 1 | 0
| 1 | 2025-07-07 | P-Valve | P36-25 | 36P25000250009 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Aug 21 | Accepted | Aaron Tong | [27 empty] | 1 | 0 | 1 | 1 | 0 | 1
| 1 | 2025-07-07 | P-Valve | P34-30 | 34P30000250002 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2025 Aug 31 | Accepted | Aaron Tong | [27 empty] | 1 | 0 | 1 | 1 | 0 | 1
Batch 7 | USED | 2025-08-06 | P-Valve | P28-25 | 28P25000250136 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [33 empty] | 1 | 0 | 1 |  |  |  | 1 | 0 | 1 | 1 | 1 | 0
| 1 | 2025-08-06 | P-Valve | P28-25 | 28P25000250137 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [33 empty] | 1 | 0 | 1 |  |  |  | 1 | 0 | 1 | 1 | 0 | 1
| USED | 2025-08-06 | P-Valve | P30-25 | 30P25000250175 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [33 empty] | 1 | 1 | 0
| USED | 2025-08-06 | P-Valve | P30-25 | 30P25000250176 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [33 empty] | 1 | 0 | 1 |  |  |  | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0
| USED | 2025-08-06 | P-Valve | P30-25 | 30P25000250177 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [39 empty] | 1 | 1 | 1
| USED | 2025-08-06 | P-Valve | P32-25 | 32P25000250159 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [36 empty] | 1 | 1 | 0
| 1 | 2025-08-06 | P-Valve | P34-25 | 34P25000250122 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [36 empty] | 1 | 0 | 1
| 1 | 2025-08-06 | P-Valve | P34-30 | 34P30000250013 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [36 empty] | 1 | 0 | 1
| 1 | 2025-08-06 | P-Valve | P34-30 | 34P30000250014 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong
| 1 | 2025-08-06 | P-Valve | P36-25 | 36P25000250126 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Jan 28 | Accepted | Aaron Tong | [36 empty] | 1 | 0 | 1 | [6 empty] | 1 | 0 | 1
Batch 8 |  | 2025-10-27 | P-Valve | P28-25 | 28P25000250138 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham
|  | 2025-10-27 | P-Valve | P30-25 | 30P25000250178 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [42 empty] | 1 | 0 | 1 | 1 | 0 | 1 | [6 empty] | 1
|  | 2025-10-27 | P-Valve | P30-25 | 30P25000250179 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham
|  | 2025-10-27 | P-Valve | P32-25 | 32P25000250160 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [39 empty] | 1 | 0 | 1 | 1 | 0 | 1 |  |  |  | 1 | 0 | 1 |  |  |  | 1
|  | 2025-10-27 | P-Valve | P32-25 | 32P25000250161 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [45 empty] | 1 | 0 | 1 | 1 | 0 | 1 |  |  |  | 1
|  | 2025-10-27 | P-Valve | P32-25 | 32P25000250162 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [45 empty] | 1 | 0 | 1
| USED | 2025-10-27 | P-Valve | P34-25 | 34P25000250123 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [45 empty] | 1 | 0 | 1 | 1 | 1 | 0
|  | 2025-10-27 | P-Valve | P34-25 | 34P25000250124 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [48 empty] | 1 | 0 | 1 | 1
|  | 2025-10-27 | P-Valve | P34-25 | 34P25000250125 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [51 empty] | 1
|  | 2025-10-27 | P-Valve | P34-25 | 34P25000250126 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham
|  | 2025-10-27 | P-Valve | P36-25 | 36P25000250127 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [48 empty] | 1 | 0 | 1 | 1
| USED | 2025-10-27 | P-Valve | P36-25 | 36P25000250128 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [45 empty] | 1 | 1 | 0
|  | 2025-10-27 | P-Valve | P36-25 | 36P25000250129 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham | [51 empty] | 1
|  | 2025-10-27 | P-Valve | P36-30 | 36P30000250137 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Mar 18 | Accepted | Phuoc Pham
| USED | 2025-10-27 | Delivery System | DS22-P70 | DSP250904 | Delivery System in box with label | 3 | Intact. No damage | 2027 Sep 19 | Accepted | Phuoc Pham | [39 empty] | 2 | 1 | 1 | 2 | 0 | 2 | 1 | 1 | 0
|  | 2025-10-27 | Delivery System | DS22-P77 | DSP250901 | Delivery System in box with label | 7 | Intact. No damage | 2027 Sep 19 | Accepted | Phuoc Pham
|  | 2025-10-27 | Delivery System | DS24-P75 | DSP250902 | Delivery System in box with label | 3 | Intact. No damage | 2027 Sep 19 | Accepted | Phuoc Pham | [39 empty] | 2 | 0 | 2 | 2 | 1 | 1 | 2 | 0 | 2 | 2
|  | 2025-10-27 | Delivery System | DS24-P81 | DSP250903 | Delivery System in box with label | 5 | Intact. No damage | 2027 Sep 19 | Accepted | Phuoc Pham | [45 empty] | 2 | 0 | 2 | 2 |  |  | 2
|  | 2025-10-27 | Delivery System | DS24-P87 | DSP250905 | Delivery System in box with label | 4 | Intact. No damage | 2027 Sep 19 | Accepted | Phuoc Pham
Batch 9 |  | 2025-10-29 | P-Valve | P28-25 | 28P25000250193 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
|  | 2025-10-29 | P-Valve | P28-25 | 28P25000250194 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
|  | 2025-10-29 | P-Valve | P30-30 | 30P30000250036 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
|  | 2025-10-29 | P-Valve | P32-30 | 32P30000250003 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
|  | 2025-10-29 | P-Valve | P32-30 | 32P30000250004 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
|  | 2025-10-29 | P-Valve | P36-30 | 36P30000250138 | VenusP-Valve in Sterilant solution | 1 | TagAlert OK. No damage outer box. No damage inner box | 2026 Apr 20 | Accepted | Phuoc Pham
Batch 10 |  | 2025-12-19 | P-Valve | P28-25 | 28P25000250203 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P28-25 | 28P25000250204 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P28-25 | 28P25000250205 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P28-30 | 28P30000250019 |  | 1 |  | 2026 May 6 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P28-30 | 28P30000250020 |  | 1 |  | 2026 May 6 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P30-25 | 30P25000250255 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P30-25 | 30P25000250256 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P30-30 | 30P30000250007 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P32-25 | 32P25000250163 |  | 1 |  | 2026 May 6 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P34-25 | 34P25000250127 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P34-30 | 34P30000250028 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P34-30 | 34P30000250029 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | P-Valve | P36-25 | 36P25000250130 |  | 1 |  | 2026 May 20 | Accepted | Aaron Tong
|  | 2025-12-19 | Delivery System | DS22-P70 | DSP251101 |  | 5 |  | 2027 Nov 25 | Accepted | Aaron Tong | [45 empty] | 1 | 0 | 1 | [6 empty] | 1
|  | 2025-12-19 | Delivery System | DS24-P75 | DSP251101 |  | 3 |  | 2027 Nov 25 | Accepted | Aaron Tong
|  | 2025-12-19 | Delivery System | DS24-P81 | DSP251101 |  | 6 |  | 2027 Nov 25 | Accepted | Aaron Tong | [51 empty] | 1
Batch 11 |  | 2026-01-20 | P-Valve | P28-30 | 28P30000250023 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P30-30 | 30P30000250039 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P32-25 | 32P25000250262 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P32-30 | 32P30000250011 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P36-25 | 36P25000250219 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P36-25 | 36P25000250220 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P36-25 | 36P25000250221 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P36-25 | 36P25000250222 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong
|  | 2026-01-20 | P-Valve | P36-30 | 36P30000250181 |  | 1 |  | 2026 Jun 6 | Accepted | Aaron Tong